|  |
| --- |
| **TABLE 1:** Average relative humidity (%) |
| Month | Before Noon | After Noon | Full daytime |
|  |  |  |  |
| April | 76.95 | 63.27 | 70.38 |
| May | 74.90 | 65.92 | 70.59 |

|  |
| --- |
| **TABLE 2:** Average ambient temperature (0C) |
| Month | Before Noon | After Noon | Full daytime |
| April | 29.8 | 33.9 | 31.8 |
| May | 30.4 | 33.1 | 31.8 |

|  |
| --- |
| **TABLE 3:** Average panel temperature (0C) |
| Month | Before Noon | After Noon | Full daytime |
| April | 33.8 | 40.8 | 37.2 |
| May | 37.3 | 39.5 | 38.4 |

|  |
| --- |
| **TABLE 4:** Average efficiency (%) |
| Month | Before Noon | After Noon | Full daytime |
| April | 30% | 42% | 36% |
| May | 34% | 34% | 34% |

**TABLE 5:** Table of the times of sunrise and sunset in 2017

|  |  |  |
| --- | --- | --- |
|  | **April** | **May** |
| Day | Sunrise  | Sunset | Sunrise  | Sunset |
| 1 | 6:24 | 18:36 | 6:13 | 18:33 |
| 2 | 6:23 | 18:36 | 6:13 | 18:33 |
| 3 | 6:23 | 18:36 | 6:13 | 18:33 |
| 4 | 6:22 | 18:36 | 6:13 | 18:33 |
| 5 | 6:22 | 18:35 | 6:12 | 18:33 |
| 6 | 6:22 | 18:35 | 6:12 | 18:33 |
| 7 | 6:21 | 18:35 | 6:12 | 18:33 |
| 8 | 6:21 | 18:35 | 6:12 | 18:33 |
| 9 | 6:20 | 18:35 | 6:12 | 18:34 |
| 10 | 6:20 | 18:35 | 6:12 | 18:34 |
| 11 | 6:20 | 18:35 | 6:11 | 18:34 |
| 12 | 6:19 | 18:34 | 6:11 | 18:34 |
| 13 | 6:19 | 18:34 | 6:11 | 18:34 |
| 14 | 6:18 | 18:34 | 6:11 | 18:34 |
| 15 | 6:18 | 18:34 | 6:11 | 18:34 |
| 16 | 6:18 | 18:34 | 6:11 | 18:34 |
| 17 | 6:17 | 18:34 | 6:11 | 18:34 |
| 18 | 6:17 | 18:34 | 6:11 | 18:34 |
| 19 | 6:17 | 18:34 | 6:11 | 18:35 |
| 20 | 6:16 | 18:34 | 6:11 | 18:35 |
| 21 | 6:16 | 18:34 | 6:11 | 18:35 |
| 22 | 6:16 | 18:34 | 6:11 | 18:35 |
| 23 | 6:15 | 18:33 | 6:11 | 18:35 |
| 24 | 6:15 | 18:33 | 6:11 | 18:35 |
| 25 | 6:15 | 18:33 | 6:11 | 18:36 |
| 26 | 6:14 | 18:33 | 6:11 | 18:36 |
| 27 | 6:14 | 18:33 | 6:11 | 18:36 |
| 28 | 6:14 | 18:33 | 6:11 | 18:36 |
| 29 | 6:14 | 18:33 | 6:11 | 18:36 |
| 30 | 6:13 | 18:33 | 6:11 | 18:37 |
| 31 |  |  | 6:11 | 18:37 |