Table 1: Summary of Time domain Parameters

| Controllers | Rise time (s) | Peak time (s) | Settling time (s) | Steady state error (V) |
| --- | --- | --- | --- | --- |
| PI controller | 0.31 | 0.32 | 0.33 | 20 |
| ANN | 0.01 | 0.02 | 0.025 | 1 |

Table 2: The Real and Reactive power with DPFC in 14-bus system with and without Non-conventional sources

| DPFC-14-bus | Real power (MW) | Reactive power (MVAR) | THD |
| --- | --- | --- | --- |
| Without wind & solar | 0.195 | 0.267 | 5.89% |
| With wind & solar | 0.234 | 0.348 | 5.09% |